## BOM_Report
Jobsite Address
| jobname | 44OP-xxxxxx | -
|  |  | Total Material Cost: |  | Text
| BOM Node: | 700 Lab Room |  |  | #VALUE!
| Order Date: | xx/xx/xxxx | Ship to:
QTY | Part # | Vendor | Description | Est Price (ea) | Line price | Ordered | Comments
1 | 537-773 | SIEMENS | CABLE, 25FT MODULAR | 62.77 | 62.77
1 | 546-04000 | N/A | VERTICAL SASH SENSOR 50" | N/A | #VALUE!
3 | 550-819B | SIEMENS | REMOTE AIR MODULE, PTEC | 604.88 | 1814.64
1 | 570-00701 | SIEMENS | BACNET FUME HOOD CONTROLLER | 1310.11 | 1310.11
1 | 570-803PA | SIEMENS | PROG. BACNET LCM-OAVS DMP FAST/RTS&BTU | 1272.67 | 1272.67
1 | 575-820A | N/A | ODP II | N/A | #VALUE!
1 | 588-100B | SIEMENS | 6-WIRE 2-RJ11 RS CABLE 50'PLMN | 47.53 | 47.53
1 | AQM2200 | SIEMENS | POWER DONGLE FOR QPA2280 SENSOR | 102.8 | 102.8
1 | EXISTING TO REMAIN | N/A | N/A | N/A | #VALUE!
2 | GNP191.1P | SIEMENS | FAIL SAFE, 50 LB-IN, 2 SEC. RUN | 730.05 | 1460.1
2 | LGE-G865-R-8-AA-S | N/A | LAB GEX, GNP191, 8'', GALV ORIFICE | N/A | #VALUE!
1 | QAA2280.EWSC | SIEMENS | RTS, TEC/RJ-11, BLANK FRONT | 109.78 | 109.78
1 | TR100VA001 | FUNCTIONAL | XFRMR 100VA,120-24V,SINGLE HUB,CLASSII U | 64.85 | 64.85
1 | TR50VA002 | FUNCTIONAL | XFRMR 50VA,120-24V,DUAL HUB,CLASS II UL | 37 | 37
2 | GNP191.1P | SIEMENS | FAIL SAFE, 50 LB-IN, 2 SEC. RUN | 730.05 | 1460.1 |  | *
| BOM Node: | CHEM.PXCC01 |  |  | 3915.23
| Order Date: | xx/xx/xxxx | Ship to:
QTY | Part # | Vendor | Description | Est Price (ea) | Line price | Ordered | Comments
1 | PXC16.2-EF32.A | SIEMENS | APOGEE 16PT BACNET IP ALN RS485 ENABLED | 3915.23 | 3915.23
| BOM Node: | Dual Duct VAV Area A |  |  | 3431.69
| Order Date: | xx/xx/xxxx | Ship to:
QTY | Part # | Vendor | Description | Est Price (ea) | Line price | Ordered | Comments
2 | 550-497PA | SIEMENS | PROG. BACNET DUAL DUCT TEC | 1200.3 | 2400.6
2 | 588-100B | SIEMENS | 6-WIRE 2-RJ11 RS CABLE 50'PLMN | 47.53 | 95.06
4 | GDE131.1P | SIEMENS | ACT NSR PLENUM 24/108L 5NM | 167.26 | 669.04
2 | QAA2280.EWSC | SIEMENS | RTS, TEC/RJ-11, BLANK FRONT | 109.78 | 219.56
1 | QAM2030.010 | SIEMENS | DUCT POINT TEMP, 10K OHM TYPE 2, 4" | 47.43 | 47.43
| BOM Node: | RISER |  |  | 1999.54
| Order Date: | xx/xx/xxxx | Ship to:
QTY | Part # | Vendor | Description | Est Price (ea) | Line price | Ordered | Comments
1 | PXA-ENC19 | SIEMENS | ENCLOSURE ASSY 19" | 953.12 | 953.12
1 | PXA-SB115V192VA | SIEMENS | SERVICE BOX 115V, 24VAC, 192VA | 1046.42 | 1046.42